Coral Tissue Separation & Chl/Zoox Counts Protocol

Start with tissue removal and prepping samples for zoox counts and pigments, samples can be frozen in their Eppendorf tubes until we’re ready to do the pigment analysis and zoox counts

STEP 1: Primary processing

- Filter 1 liter of fresh seawater

- Clean the coral fragment with toothbrush, rinse it in SW

- Place coral fragment in ziplock bag and seal it around the water pick. Hold fragment near top of bag from the outside to allow slurry to drop into bottom of bag while allowing for good visualization of fragment.

- Remove the tissue from entire coral fragment with water-pick using filtered seawater (0.7µm-filtered) until skeleton is white (adjust pressure to 10, don’t want to blow a hole in the bag, but strong enough to remove tissue quickly) ** use water conservatively. Try to remove all tissue with two rounds of 45 mL FSW, but can use more if needed.

- Rinse fragment when white one final time

- Pour the tissue slurry (blastate) into labeled 50 ml Falcon tube

- Rinse walls of bag ONCE with additional 5 mL of FSW and add to Falcon tube

- Record final blastate volume and adjust samples to equal volumes

- Homogenize blastate for 30 seconds using a vortex genie, use homogenizer to break up chunks if necessary

- Centrifuge blastate for 15 minutes at 4,500 rcf

- Label the cleaned skeleton and save for surface area via aluminum foil

STEP 2: Separation of tissue types – Animal Tissue

- Pour the supernatant off from first spin (this is the top layer in the tube and is the ANIMAL fraction). This will leave behind a green/tan pellet—this is the “algae fraction” with some remaining animal tissue (this is what we want for chl a and zoo-x counts)

- Vortex until pellet breaks apart (around 30-60 seconds) in the 15 (or 50 ml) falcon tube

- Add ~0.75 ml FSW to algal pellet in 15 ml tube (epp. tube can only be filled to 1.1 mL or it will overflow while homogenizing)

- Vortex algae and pipette 1 ml into 1.5 ml epp. tubes

- Rinse 50 mL falcon with FSW squirt bottle and fill Eppendorf tube to 1.5 mL line with pipette, vortex 10 seconds.

- Add rinse into epp. tubes- divide sample into as many eppi tubes as needed

- Homogenize the algal fraction in each eppi tube with doggy homogenizer on high for 30 sec.

- Rinse homogenizor with 200 ul DI water and add rinse to eppi tube

- Change pipette tip between samples and use separate pipette for rinses to minimize tip waste

STEP 3: Washing Zoox (do at least- let’s try for two times) … this cleans off bits of cell debris and nematocsysts that can be confused for zoox cells during counts

- Centrifuge the resuspended pellet for 5 minutes at 4,500 rfc

- Pour the algal fraction supernatant into the waste beaker

- Combine sample from eppi tubes into one tube per fragment (skip this step for cleaning)

  - Vortex eppi tubes until pellets breaks apart (around 30-60 seconds)

  - Combine tubes with pipette

  - Add DI if needed to tubes to transfer into one main tube

  - Rinse eppi tubes and add rinse water

- Vortex and homogenize, rinse homogenizer (15 sec)

- Fill tube to 1.5 mL

- Vortex (10 seconds)

- Centrifuge at 7,000 rfc for 3 min

- Repeat steps 2-6 two more times (sample is centrifuged 3 times at 7,000 rfc 3 min)

- Aliquot sample into 3 equal volumes (0.5 ml each from a total of 1.5 ml sample volume)

- Samples are re-frozen until counting

STEP 4: Prepping the zoox for chl a and for zoox counts

- Resuspend the cleaned zoox pellet in 1 mL of FSW (use vortex, homogenizer, and pipette to mix the sample well before taking the aliquot) , add 0.25 ml of seawater after homogenizing and vortex, and vortex again.

- Transfer a 100 uL aliquot to a labeled eppendorf tube

  - This is for raw hemocytometer counts

- Transfer 2 separate aliquots of 0.25 mL to  2 epi tubes for PIGMENTS (2 pigment replicates per coral sample) and freeze

- Freeze the remaining 0.5 mL in epi tube for ARCHIVE ( this is our backup)

** You now should have 4 eppendorf tubes to be frozen (1 for zoox counts, 2 for pigments, 1 archive/extra)

STEP 5: Count the zoox cells!

PROTOCOL FOR ZOOX COUNTS

Replication: Do 1 set of 6 counts per coral fragment (that means you’re using only one of your zoox counts subsamples, save the other in the freezer)

STEP 1: Dilution

- Thaw zoox count sample- keep out of direct light – works best if thawed in a small cooler outside the lab.

- Resuspend pellet using electric homogenizer and vortex.

  - A hypodermic needle is also helpful (lightly pumping the solution) but use the needle again when mixing after your first dilution to remove any excess algae cells.

  - For resuspending, use a combination of the vortex and a sewing needle to break up the pellet.

- Remove a 100 uL aliquot of pellet suspension with a pipette and put into new Eppendorf for dilution.

- Dilution of the sample will depend on how many zoox there are- start with a 1:1 dilution of the zoox sample and filtered seawater (100 uL homogenate, 100 uL of seawater)

  - Re-homoginze with hypodermic needle and electric homogenizer

  - A 19–24-gauge hypodermic needle can be used to further separate the zoox cells, draw the sample into and out of the needle multiple times, if you can’t find a needle/syringe skip this step, but there may be clumping

- Follow the protocol described in the link for counting cells

- Dilute the sample as necessary so you are counting between 125-200 cells per “count”. You should have ~25 zoox cells per quadrant (this is for efficiency, so it doesn’t take you forever to count hundreds of cells)

- Proceed through “serial dilution” if the original dilution is not enough

  - 100 uL of the solution (original 1:1 dilution) + 100 uL of FSW

  - Repeat until appropriate dilution is reached

- Keep track of the dilution you use- this is necessary for cell calculations

STEP 2: Count the zoox

- Load the hemocytomter with approximately 10 uL of the diluted sample using a glass pipette; (equated to one drop of sample into each “well” on each side of the slide – this should “fill” the slide through capillary action)

Cell Counting With a Hemocytometer: As Easy as 1, 2, 3...

To read an overview of counting cells with a hemocytometer. It wouldn’t hurt to look up some of the youtube videos as well.

- Do 6 counts per coral fragment- one ‘count’ is the total number of cells counted across the 5 quadrants in one grid (one side of the hemocytometer)- these are quadrants C,D,B,E,F in the image below

- The hemocytometer has two grids- so you’ll get two counts per slide.

- Use Kimwipes to clean the slide between counts of the same fragment sample.

- Repeat two more times for a total of 3 slides (2 sides per slide) and 6 counts per coral fragment.

- Clean slide and cover with ethanol (EtOH) between different coral fragment samples.

STEP 3: Check your numbers

- Calculate your cell densities

cells per square =counted cells in a full grid ⋅ dilution factor i.e., 1:1 =2counted squares usually 5

THEN

cells per mL = cells per square0.0001 volume of a grid sqaure

THEN

fragment cell density = cells per mL ⋅1.25 ml size of sampleSA surface area of frag.

EXAMPLE:

262 cells counted ⋅ 2 1:1 dilution5 squares counted=104.8 cellssq

THEN

104.8 cellsmL0.0001 mL per grid square=1,048,000 cells

THEN

10.48 x 105 ⋅1.25mL3.52cm2= 372,159.091 cellscm2

- Look up a couple papers that have zoox counts for Agarica from the Caribbean and see that your counts from Coral Cay are roughly comparable- this ensures you’re doing the dilution and calculation correctly